## Checklists
GENERAL SITE INFORMATION | [6 empty] | ROOF STORAGE | [6 empty] | TRAPLOW | [7 empty] | MANHOLE/ CATCHBASIN AND PIPE | [6 empty] | UNDERGROUND STORAGE TANK | [7 empty] | ORIFICE AND VORTEX FLOW CONTROL DEVICE |  |  |  |  | PUMP
Refer to the Stormwater Management: A Landowner's Operations and Maintenance Manual for additional information on inspection and maintenance. | [6 empty] | Refer to Section 3.5 of the Stormwater Management: A Landowner's Operations and Maintenance Manual for additional information. If more than one roof storage is present on site, multiple roof storage pages should be used. | [6 empty] | Refer to Section 3.3 of the Stormwater Management: A Landowner's Operations and Maintenance Manual for additional information. If more than one traplow is present on site, multiple traplow pages should be used. | [7 empty] | Refer to Sections 3.2 of the Stormwater Management: A Landowner's Operations and Maintenance Manual. While inspecting the manhole or catchbasin, look all pipe connections. If more than one manhole or catchbasin is present on site, multiple manhole/ catchbasin pages should be used. Never enter a structure unless trained to do so. | [6 empty] | Refer to Section 3.4 of the Stormwater Management: A Landowner's Operations and Maintenance Manual. If more than one underground storage tank is present on site, multiple underground storage pages should be used. Never enter a structure unless trained to do so. | [7 empty] | Refer to Section 3.2.1 of the Stormwater Management: A Landowner's Operations and Maintenance Manual . If more than one orifice or vortex flow control device is present on site, multiple orifice and vortex flow control pages should be used. |  |  |  |  | If more than one pump is present on site, multiple pump pages should be used.
[42 empty] | Site Address: ______________________________________________________ |  |  |  |  | Date: _______________________
Site Address: | [5 empty] | Date: | Site Address: ______________________________________________________ | [5 empty] | Date: _____________________________ | Site Address: ______________________________________________________ | [5 empty] | Date: _____________________________ | Date: _____________________________ | [15 empty] | Site Address: ______________________________________________________ |  |  |  | Date: _____________________________
[22 empty] | Site Address: _____________________________________________________ | [5 empty] | Date: _____________________________ | Site Address: __________________________________________________ | [5 empty] | Date: _____________________________ | [6 empty] | Lot Type: _________________________________________________________ |  |  |  |  | Completed By: ________________
Lot Type: | [5 empty] | Completed By: | Lot Type: _________________________________________________________ | [5 empty] | Completed By: _____________________ | Lot Type: _________________________________________________________ | [5 empty] | Completed By: _____________________ | Completed By: ____________________ | [15 empty] | Lot Type: _________________________________________________________ |  |  |  | Completed By: __________________
[22 empty] | Lot Type: _________________________________________________________ | [5 empty] | Completed By: _____________________ | Lot Type: ______________________________________________________ | [5 empty] | Completed By: _____________________ | [6 empty] | Number of Pumps:
Infrastructure Present | [6 empty] | Number of Roof Storages: | [6 empty] | Number of Traplows: | [22 empty] | Number of Orifice(s) and/or Vortex Flow Control(s):
FALSE | Roof Storage #_____ |  |  | FALSE | Traplow #_____ | [16 empty] | Number of Manholes and Catchbasins: | [6 empty] | Number of Underground Storage Tanks: | [12 empty] | Pump ID: |  |  |  | (e.g. Pump 1, South Pump)
FALSE | Manhole/Catchbasin and Pipe #_____ |  |  | FALSE | Underground Storage Tank #_____ |  | Roof Storage ID: |  |  |  |  | (e.g. Roof1, South Roof) |  | Traplow ID: |  |  |  |  | (e.g. TL1, South TL) | [9 empty] | Brand of Underground Storage Tank: | [7 empty] | Orifice or Vortex Flow Control ID: |  |  |  | (e.g. ICD1, South ICD) | YES | NO | N/A
FALSE | Orifice or Vortex Flow Control #_____ |  |  | FALSE | Pump #_____ |  | YES | PARTIALLY | NO | N/A |  |  |  | YES | NO | N/A | [5 empty] | Manhole/Catchbasin ID: |  |  |  |  | (e.g. CB1, South MH) | [9 empty] | YES | NO | N/A |  |  | FALSE | FALSE | FALSE | 1.Is the intake obstructed?
[7 empty] | FALSE |  | FALSE | FALSE | 1. Is debris present? |  |  | FALSE | FALSE | FALSE | 1. Does ponding last more than 1 hour after a large storm event? |  |  |  |  | YES | NO | N/A |  |  |  |  | Underground Storage Tank ID: |  |  |  |  | (e.g. UG1, South UG) |  |  | 1. Type of Flow Control Device (circle): Orifice/Vortex Flow Control/Other: |  |  |  |  | FALSE | FALSE | FALSE | 2. Is rust present? (In additional comments, note if rust affects pump function.)
YES | NO | N/A |  |  |  |  | FALSE |  | FALSE | FALSE | 2. Signs of ponding water (e.g. visible pools or water stains/discolouration)? |  |  | FALSE | FALSE | FALSE | 2.Is sediment* accumulation present? |  |  |  |  | FALSE | FALSE | FALSE | 1. Is the surrounding surface damaged? |  |  |  | YES | NO | N/A | [5 empty] | FALSE | FALSE | FALSE | 2.Is the inlet obstructed? |  | FALSE | FALSE | FALSE | 3. Are the electrical connections intact?
FALSE | FALSE | FALSE | 1. Is stormwater able to flow into the storm system (e.g. no blockages to overland drainage paths)? |  |  |  | FALSE |  | FALSE | FALSE | 3. Have any leaks been recorded? | [6 empty] | a. Depth of sediment accumulation: |  |  | mm | FALSE | FALSE | FALSE | 2.Is there any debris present? |  |  |  | 1. Type of Underground Storage Tank (circle): Concrete/HDPE/Modular/Arched/Other: | [7 empty] | FALSE | FALSE | FALSE | 3. Is rust present? |  | FALSE | FALSE | FALSE | 4. Is the pump connection to the pipe in intact?
[12 empty] | a. How frequently does leaking occur: |  | FALSE | FALSE | FALSE | 3. Signs of erosion (e.g., scour marks, exposed soil)? |  |  |  |  | FALSE | FALSE | FALSE | 3. Is standing water present? |  |  |  | FALSE | FALSE | FALSE | 2.Is the surrounding surface damaged? |  |  |  |  | FALSE | FALSE | FALSE | 4. Is there other physical damage or not adequately secured to the structure? |  | FALSE | FALSE | FALSE | 4. Is the pump able to run?
Overall Site Drainage Concerns or Comments: | [6 empty] | FALSE | FALSE | FALSE | FALSE | 4. Are the roof drains clogged? |  |  | FALSE | FALSE | FALSE | 4. Is maintenance required? (Answer "Yes" if any of the above questions have been answered "Yes") |  |  |  |  | FALSE | FALSE | FALSE | 5. Is sediment* accumulation present? |  |  |  | FALSE | FALSE | FALSE | 3. Is standing water present? |  |  |  |  | FALSE | FALSE | FALSE | 5. Is sediment accumulation present at the bottom of the manhole? |  | FALSE | FALSE | FALSE | 5. Does the pump produce flow?
[7 empty] | FALSE |  | FALSE | FALSE | 5. Is maintenance required? (Answer "Yes" if any of the above questions have been answered "Yes") | [14 empty] | a. Depth of sediment accumulation: |  | mm | FALSE | FALSE | FALSE | 5. Is sediment* accumulation present? |  |  |  |  | FALSE | FALSE | FALSE | 6. Is maintenance required? (Answer "Yes" if any of the above questions have been answered "Yes") |  | FALSE | FALSE | FALSE | 5. Is there other physical damage? (In Additional Comments, note if physical damage affects pump function.)
[14 empty] | Additional Comments: | [7 empty] | FALSE | FALSE | FALSE | 6. Are there any cracks present within the infrastructure? | [7 empty] | a. Depth of sediment accumulation: |  |  | mm
[7 empty] | Additional Comments: | [14 empty] | FALSE | FALSE | FALSE | 7. Any visible leaks? |  |  |  | FALSE | FALSE | FALSE | 6. Are there any cracks present? |  |  |  |  | Additional Comments: |  |  |  |  | FALSE | FALSE | FALSE | 6. Is maintenance required? (Answer "Yes" if any of the above questions have been answered "Yes")
[22 empty] | FALSE | FALSE | FALSE | 8. Is maintenance required? (Answer "Yes" if any of the above questions have been answered "Yes") |  |  |  | FALSE | FALSE | FALSE | 7. Any visible leaks?
[29 empty] | FALSE | FALSE | FALSE | 8. Is maintenance required? (Answer "Yes" if any of the above questions have been answered "Yes") | [9 empty] | Additional Comments:
Additional Comments:
Additional Comments:
Site Picture(s):
[7 empty] | Site Picture(s): | [6 empty] | Site Picture(s):
[22 empty] | Site Picture(s): | [14 empty] | Site Picture(s):
Site Picture(s):
[14 empty] | *Note: Sediment refers to fine particles like soil or sand that collect at the bottom, whereas debris refers to larger materials such as leaves, trash, branches, or other loose objects that can clog inlets and obstruct flow. | [7 empty] | *Note: Sediment refers to fine particles like soil or sand that collect at the bottom, whereas debris refers to larger materials such as leaves, trash, branches, or other loose objects that can clog inlets and obstruct flow. | [6 empty] | *Note: Sediment refers to fine particles like soil or sand that collect at the bottom, whereas debris refers to larger materials such as leaves, trash, branches, or other loose objects that can clog inlets and obstruct flow.