## Sheet1
DESIGN SYMBOLS FOR LUMINAIRES AND POLES
LUMINAIRE TYPE | DESCRIPTION | Current Manufacturer Model / Photometric #
A | A - 70W HPS PostTop
AA | AA - 1000W MH QuadPack (4 Unit)
AB | AB - 1000W MH Floodlight
AC | AC - 1000W MV Floodlight
AD | AD - 116W INCAND Other (12 Lamp Olym Plaz)
AE | AE - 400W HPS SquareHead
AF | AF - 250W HPS PostTop (Prodel Globe LRT)
AG | AG - 100W HPS DusktoDawn
AH | AH - 250W HPS Floodlight
AJ | AJ - 400W HPS Floodlight
AK | AK - 100W HPS PostTop (Holophane/RLS) | walkway - no computer pht. Found
AL | AL - 250W HPS PostTop (Prodel Type Lantern) | Prodel Coach -
AM | AM - 100W HPS PostTop (Prodel Type Lantern)
AN | AN - 400W HPS Other (Expressway Mongoose) | Holophane / 498991
AP | AP - 150W HPS TearDrop (Louise Bridge) | Holophane Esplanade c/w customer shroud
AQ | AQ - 150W HPS TearDrop (McKenzie Twn Trad) | Cooper / C51261
AR | AR - 150W HPS SquareHead | CooperCS7232/ 7232-21.pht
AS | AS - 100W HPS PostTop (Cylynder 4 ST SW) | Moldcast M30181. pht (contracline
ASS | ASS - 100 Watt HPS Contemporary Quad Tap 4 St
AT | AT - 100W HPS DusktoDawn
AU | AU - 250W MH TearDrop
AV | AV - 250W MH TearDrop (Trad-King)
AW | AW - 250W MH PostTop (Stephen Av Mall)
AX | AX - 250W MV Other (Olympic Way)
AY | AY - 100W MH Domus (Promroads Domes)
AZ | AZ - 250W HPS Underpass (Wall pack)
B | B - 100W HPS Cobrahead (BIH)
BA | BA - 250W MH PostTop (Chinatown)
BB | BB - 250W MH TearDrop (McKenzie)
BC | BC - 150W HPS Cobrahead (Flat Lens) | American Electric 115 / Ae4505i
BCB | BCB - 150 Watt H.P.S. Flat Lens Cobrahead (Black)
BD | BD - 400W HPS Cobrahead (Flat Lens) | American Electric 125 / Ae5743i
BE | BE - 200W HPS Cobrahead (Flat Lens) | American Electric 125 / Ae5783i
BEB | BEB - 200 Watt H.P.S Flat Lens Cobrahead (Black)
BF | BF - 100W HPS Cobrahead (Flat Lens) | Cooper OVF / 766646
BFB | BFB - 100 Watt H.P.S. Flat Lens Cobrahead (Black)
BG | BG - 400W MH SquareHead (Flat Lens Shoebox)
BH | BH - 135W LPS Other
BI | BI - 100W HPS TearDrop
BJ | BJ - 250W MV DusktoDawn
BK | BK - 150W HPS PostTop (Globe-Frost 10 ST NW) | King / VI1K1183
BL | BL - 750W HPS RoundHead (Flat Lens, Kim Lght, Sarcee NW)
BM | BM - 1000W HPS Cobrahead (High Mast Area Cooper HMX)
BN | BN - 250W HPS TearDrop (Trad/Mackenzie)
BO | BO - 100W HPS PostTop (Trad)
BP | BP - 310W HPS Cobrahead (Helios Flat Glass) | Helios / 994261
BQ | BQ - 310W HPS Cobrahead (Helios Sag Glass)
BR | BR - 100W HPS Domus (Elbow Dr) | Domus S0105302
BS | BS - 150W HPS Domus (Elbow Dr) | Domus S0105303
BT | BT - 150W HPS Underpass (WallPack)
BU | BU - 125W MV PostTop (Mt Royal)
BV | BV - 310W HPS Cobrahead (Citea Flat Glass)
BW | BW - 250W MH Cobrahead
BX | BX - 250W MH Floodlight
BY | BY - 400W HPS Cobrahead (Helios Flat Glass)
BZ | BZ - 100W HPS Shoebox | cooper CS7232.21
C | C - 150W HPS PostTop (III KingAcorn) | HCI / ItI44266 (F107 Greg folder)
CA | CA - 100W HPS PostTop (Ser - Trad 17 AV) | Lumec S0412232
CB | CB - 150W HPS PostTop (Ser - Trad 17 AV) | Lumec S0412232
CC | CC - 100W HPS PostTop (Lumca Lant - Globe) | Lumca S021182
CD | CD - 150W HPS PostTop (Lumca Lant - Globe) | Lumca S021182
CE | CE - 100W MH HID Underpass
CF | CF - 70W MH HID Pathway
CG | CG - 70W HPS Wallpack
CH | CH - 250W MH Cobrahead Flat Lens (Downtown)
CI | CI - 250W MH Domus (Hard Hat) | dms50-250mh-scb3m-240-cwi-smb-bc-bktx-lmns33451d
CJ | CJ - 250W HPS Domus - (Memorial Dr) | DMS50-250HPS-SCB3M-240-SMB-CWI-BC-FN6-BKTX-LMS33451A
CK | CK - 100W HPS Post Top (4st Replacement) | revise minh
CL | CL - 250W MH Transit Decorative Roadway Luminaire | revise minh
CM | CM - 70W MH Transit Decorative Pedestrian Luminaire |  | created for Elbow Drive- will expand to use in Residential
CN | CN - 100 Watt HPS Golden Rod (Inglewood) |  | created for Elbow Drive- will expand to use in Residential
CO | CO - 150 Watt MH Post Top (East Village
CP | CP - 100 Watt MH Pendant fixture (East Village)
CQ | CQ - 1000 Watt H.P.S. Cobrahead (240 Volt)
CR | CR - 150 Watt HPS Underpass Wall Pack
CS | CS - 250 Watt HPS Domus
CT | CT - 150 Watt HPS Domus (Memorial Dr)
CU | CU - 150 Watt HPS Multi Tap Wall Pack |  | added 2006 March
CV | CV - 250 Watt HPS Globe (Centre St. Bridge) |  | added 2006 March
CW | CW - 150 Watt HPS Pedestrian Globe (Centre St. Bridge) |  | added 2006 March
CX | CX - 100 Watt HPS Pier Floodlight (Centre St. Bridge) |  | added 2006 March
CY | CY - 70 Watt HPS Kiosk (Centre St. Bridge) |  | added 2006 March
CZ | CZ - 35 Watt HPS Wall Sconce (Centre St. Bridge) |  | added 2006 May
D | D - 250W HPS SquareHead | CooperCS7252 / 7252-21.pht | added 2006 May
DA | DA - 250 Watt HPS Floodlight (Centre St. Bridge) |  | added 2006 May
DB | DB - 150 Watt HPS Floodlight (Centre St. Bridge) |  | added 2006 May
DC | DC - 175 Watt MH Greenway
DD | DD - 400 Watt HPS Mongoose (Expressway Horizontal)
DE | DE - 250 Watt HPS Mongoose (Expressway Horizontal)
DF | DF - 250 Watt MH Flat Lens Cobrahead (Downtown) |  | added 2007 July 9 - 10 av SW
DG | DG - 250 Watt MH Flat Lens Cobrahead - Black (Downtown)
E | E - 250W HPS PostTop (Type V)
F | F - 1000W HPS QuadPack (4 - Unit Type V)
G | G - 175W MV DusktoDawn
H | H - 1000W HPS Cobrahead (BIH Type III) | cooper OV50
J | J - 250W MV DusktoDawn
K | K - 250W MV PostTop (Type II)
L | L - 400W HPS Cobrahead (BIH) | old drop glass - eg GE 7318
LA | LA - 102W Cold Cathode Florescent - Ceiling Neon Tube (Peace Bridge) | Peace Bridge
LB | LB - 24W LED Under Hand Rail Tube (Peace Bridge) | Peace Bridge
LC | LC - 1W LED Way-Finding Recessed (Peace Bridge) | Peace Bridge
LD | LD - 26W LED Lower Exterior Flood (Peace Bridge) | Peace Bridge
LE | LE - 17W LED Entrance Spotlight (Peace Bridge) | Peace Bridge
LF | LF - 45W LED Cobrahead, 4000K (ERS10A3E15409)
LG | LG - 60W LED Cobrahead, 4000K (ERS10B3E15409)
LH | LH - 73W LED Cobrahead, 4000K (ERS10C3E15409)
LI | LI - 95W LED Cobrahead, 4000K (ERS10C3E17409)
LK | LK - 112W LED Cobrahead, 4000K (ERS20F3E15409)
LL | LL - 125W LED Cobrahead, 4000K (ERS20G3E15409)
LLB | LLB - 125W LED Cobrahead, 4000K (ERS20G3E15409) Black
LM | LM - 73W LED Cobrahead, 5000K (ERS10C3E15509)
LN | LN - 95W LED Cobrahead, 5000K (ERS10C3E17509)
LO | LO - 45W LED Cobrahead, 4000K (ERS10A3D15409)
LOB | LOB - 45W LED Cobrahead, 4000K (ERS10A3D15409) Black
LP | LP - 99W LED Cobrahead, 4000K (ERS20E3E15409)
LPB | LPB - 99W LED Cobrahead, 4000K (ERS20E3E15409) Black
LQ | LQ - 88W LED Cobrahead, 4000K (ERS20D3E15409)
LR | LR - 68W LED Cobrahead, 5000K (NXT48M072ES4GY1ULX2H)
LS | LS - 92W LED Cobrahead, 5000K (NXT48M072ES6GY1ULX2H)
LT | LT - 158W LED Cobrahead, 5000K (NXT72M072ES7GY1ULX2H)
LU | LU - 53W LED Cobrahead, 5000K (NXT48M072ES3GY1ULX2H)
LV | LV - 135W LED Cobrahead, 5000K (NXT72M072ES6GY1ULX2H)
LW | LW - 189W LED Cobrahead, 4000K (ERS20H3C17409)
LX | LX - 151W LED Cobrahead, 5000K (ERS30J3E15509
LY | LY - 183W LED Cobrahead, 5000K (ERS30L3E15509
LZ | LZ - 222W LED Cobrahead, 5000K (ERS40P3E15509)
M | M - 250W MV PostTop (Type V)
MA | MA - 234W LED Cobrahead, 5000K (ERS40Q3E15509)
MB | MB - 274W LED Cobrahead, 5000K (ERS40T3E15509)
MC | MC - 76W LED Wallpack, 4000K (EWSW0C440ABLCK)
MD | MD - 290W LED Mongoose, 5000K (MGLED45KASMHVGPSCP7)
ME | ME - 100W LED Globe, 4500K (KCKG22RR1AWIII)
MF | MF - 107W LED Shoebox, 4000K (AE02LEDE1T2R)
MG | MG - 168W LED Mongoose, 5000K (MGLED45KASMHVGNLPSCP7)
MH | MH - 252W LED High Mast, 5000K (HMLED2065KASGMPSCP7)
MI | MI - 376W LED High Mast, 5000K, 240V (HMLED2095KASGMPSCP7)
MJ | MJ - 376W LED High Mast, 5000K, 480V (HMLED2095KAHGMPSCP7)
MK | MK - 500W LED High Mast, 5000K (HMLED2125KAHGAWPSCP7)
ML | ML - 39W LED Cobrahead, 4000K (ERL10B7A1404)
MLB | MLB - 39W LED Cobrahead, 4000K (ERL10B7A1404) Black'
MM | MM - 51W LED Cobrahead, 4000K (ERL10C7E1404)
MMB | MMB - 51W LED Cobrahead, 4000K (ERL10C7E1404) Black'
MN | MN - 70W LED Cobrahead, 4000K (ERL10D3E1404)
MNB | MNB - 70W LED Cobrahead, 4000K (ERL10D3E1404) Black
MO | MO - 60W LED Domus, 4000K
MP | MP - 100W LED Domus, 4000K
MQ | MQ - 60W LED Acorn, 4000K
MR | MR - 75W LED Acorn, 4000K
MS | MS - 100W LED Acorn, 4000K
MT | MT - 60W LED King Globe, 4000K
MU | MU - 75W LED King Globe, 4000K
MV | MV - 40W LED Domus, 4000K
MW | MW - 301W LED Cobrahead, 5000K (ERS4HT3E1)
MX | MX - 500W LED High Mast-MA, 5000K (HMLED12COB)
MY | MY - 500W LED High Mast-Area Wide (240W), 5000K (HMLED2125K)
MZ | MZ - 32W LED Cobrahead, 3000K (ERL104D130-CDS)
MZB | MZB - 32W LED Cobrahead, 3000K (ERL104D130-CDS) Black
N | N - 250W MV Cobrahead (BIH)
NA | NA - 32W LED Cobrahead, 3000K (ERL104E130)
NAB | NAB - 32W LED Cobrahead, 3000K (ERL104E130) Black
NB | NB - 41W LED Cobrahead, 3000K (ERL105E130)
NBB | NBB - 41W LED Cobrahead, 3000K (ERL105E130) Black
NC | NC - 67W LED Cobrahead, 3000K (ERL107E130)
NCB | NCB - 67W LED Cobrahead, 3000K (ERL107E130) Black
ND | ND - 90W LED Cobrahead, 4000K (ERS110E140)
NDB | NDB - 90W LED Cobrahead, 4000K (ERS110E140) Black
NE | NE - 125W LED Cobrahead, 4000K (ERS113E140)
NEB | NEB - 125W LED Cobrahead, 4000K (ERS113E140) Black
NF | NF - 132W LED Cobrahead, 4000K (ERS216E140)
NFB | NFB - 132W LED Cobrahead, 4000K (ERS216E140) Black
NG | NG - 162W LED Cobrahead, 4000K (ERS219E140)
NGB | NGB - 162W LED Cobrahead, 4000K (ERS219E140) Black
NH | NH - 219W LED Cobrahead, 4000K (ERS223E140)
NHB | NHB - 219W LED Cobrahead, 4000K (ERS223E140) Black
NI | NI - 275W LED Cobrahead (240V), 4000K (ERS227E140)
NIB | NIB - 275W LED Cobrahead (240V), 4000K (ERS227E140) Black
NJ | NJ - 275W LED Cobrahead (480V), 4000K (ERS227E140)
NJB | NJB - 275W LED Cobrahead (480V), 4000K (ERS227E140) Black
NK | NK – 252W LED High Mast, 240V, 4000K (HMLED2064KASGANP7PSC)
NL | NL – 376W LED High Mast, 240V, 4000K (HMLED2094KASGANP7PSC)
NM | NM – 376W LED High Mast, 480V, 4000K (HMLED2094KAHGANP7PSC)
NN | NN – 376W LED High Mast, 240V, 4000K (HMLED2094KASGMPSCP7)
NO | NO – 376W LED High Mast, 480V, 4000K (HMLED2094KAHGMPSCP7)
NOLMNR | No Luminaire
NP | NP – 500W LED High Mast, 480V, 4000K (HMLED2124KAHGMPSCP7)
NQ | NQ – 500W LED High Mast, 240V, 4000K (HMLED2124KASGMPSCP7)
NR | NR - 90W LED Capella Roadway, 4000K (CPLM90W49LED4K-ES) | Volunteer Way
NS | NS - 65W LED Capella Pedestrian, 4000K (CPLM65W49LED4K-ES) | Volunteer Way
NT | NT - 252W LED High Mast, 480V, 4000K (HMLED2064KAHGANP7PSC)
NU | NU - 83W LED Avery, 4000K (EPAS0C3D40ABBLCKD) |  |  |  |  | None in Database
NV | NV - 83W LED Avery, 3000K (EPAS0C3D40ABBLCKD) |  |  |  |  | None in Database
NW | NW - 90W LED Cobrahead, 3000K (ERS110E130)
NWB | NWB - 90W LED Cobrahead, 3000K (ERS110E130) Black
NX | NX - 125W LED Cobrahead, 3000K (ERS113E130)
NXB | NXB - 125W LED Cobrahead, 3000K (ERS113E130) Black
NY | NY - 132W LED Cobrahead, 3000K (ERS216E130)
NZ | NZ - 162W LED Cobrahead, 3000K (ERS219E130)
OA | OA - 219W LED Cobrahead, 3000K (ERS223E130)
OB | OB - 275W LED Cobrahead, 3000K (ERS227E130)
OC | OC - 275W LED Cobrahead, 480V, 3000K (ERS227E130)
OD | OD - 60W LED Overhead Bar Powercore, 4000K (910503703743) | Peace Bridge
OE | OE - 7W LED In Ground Goldstar, 4000K (SGDLEDE66MFLA9MAC12) | Peace Bridge
OF | OF - 40W LED Domus, 3000K (CY55P1B-3M-120@277)
OG | OG - 60W LED Domus, 3000K (CY55P1B-3M-120@277)
OH | OH - 100W LED Domus, 3000K (CY55P1B-3M-120@277)
OI | OI - 20W LED Mini Domus, 3000K (SY21P1-3M-120@277)
OJ | OJ - 50W LED Wallpack Sconce, 4000K (PE-C/G-VG-BBW)
OK | OK - 48W LED Walkway, 3000K (Cree AREEDR2MR304EUL) Black
OL | OL - 138W LED Cobrahead, 4000K (ERS2H3C1)
OM | OM - 56W LED Shoebox, 4000K (GLEONAE01E1T3)
ON | ON - 107W LED Shoebox, 4000K (GLEONAE02E1T3)
OO | OO - 157W LED Shoebox, 4000K (GLEONAE03E1T3)
OP | OP - 30W LED Shoebox, 4000K (GLEONAE01E1T3)
OQ | OQ - 38W LED Shoebox, 4000K (GLEONAE01E1T3)
OR | OR - 54W LED Shoebox, 4000K (GLEONAE02 E1T3)
OS | OS - 107W LED Shoebox, 4000K (GLEONAE02E1T3)
OT | OT - 92W LED Globe, 4500K (KG22RR1AWIII100(SSL)1063)
OU | OU - 60W LED Acorn, 3000K (K118RB2AR3K)
OV | OV - 75W LED Acorn, 3000K (K118RB2AR3K)
OW | OW - 100W LED Acorn, 3000K (K118RB2AR3K)
OX | OX - 21W LED Ridgeview, 4000K (RDGE01EUGM) | Flanders Av SW Overpass
OY | OY - 41W LED Wallpack, 5000K (LDWPGL4AED)
OZ | OZ - 68W LED Wallpack, 4000K (KEENE553)
P | P - 400W MV Cobrahead (BIH Type II / III)
PA | PA - 100W LED Horizontal Tenon, 5000K (WL100XHTI1350NN) | 4 St SW Underpass
PB | PB - 6W LED Pedestrian Panel, 4000K
PC | PC - 100W LED Tubular Column (SLL011025) | 4 St SW Underpass - 10 Ave SW Cul-de-sac
PD | PD - 96W LED Hess Type III, 4000K (SR740S4LVNWMEUNIVA23RCDG) | Chinook Mall - 61 Ave SW
PE | PE - 71W LED Hess Type II, 4000K (SR6003LVSUNIVA) | Chinook Mall - 61 Ave SW
PF | PF - 50W LED Shoebox, 4000K (GLEONAF01E12TR)
PG | PG - 85W LED Shoebox, 4000K (GLEONAF02LEDE1T3800mA)
PH | PH - 66W LED Shoebox, 4000K (GLEONAF02LEDE1T3600mA)
PI | PI - 59W LED Shoebox, 4000K (GLEONAF01LEDE1T3)
PJ | PJ - 44W LED Shoebox, 4000K (GLEONAF01LEDE1T2R800)
PK | PK - 34W LED Shoebox, 4000K (GLEONAF01LEDE1T2R600)
PL | PL - 34W LED Shoebox Pedestrian, 4000K (GPCAF01LEDE1T4)
PM | PM - 35W LED Walkway, 3000K (GE EPTC0E330PL1B) Black
PN | PN - 22W LED Walkway - Bollard Integrated, 3000K
PO | PO - 83W LED Wallpack, 4000K (WPSLS3W40K)
PP | PP - 31W LED Cobrahead, 3000K (ERL104B3)
PPB | PPB - 31W LED Cobrahead, 3000K (ERL104B3) Black
PQ | PQ - 31W LED Cobrahead, 3000K (ERL104D3)
PQB | PQB - 31W LED Cobrahead, 3000K (ERL104D3) Black
PR | PR - 39W LED Cobrahead, 3000K (ERL105B3)
PRB | PRB - 39W LED Cobrahead, 3000K (ERL105B3) Black
PS | PS - 58W LED Cobrahead, 3000K (ERL107B3)
PSB | PSB - 58W LED Cobrahead, 3000K (ERL107B3) Black
PT | PT - 82W LED Cobrahead, 3000K (ERLH10B3)
PTB | PTB - 82W LED Cobrahead, 3000K (ERLH10B3) Black
PU | PU - 111W LED Cobrahead, 3000K (ERLH13B3)
PUB | PUB - 111W LED Cobrahead, 3000K (ERLH13B3) Black
PV | PV - 120W LED Cobrahead, 3000K (ERL216B3)
PVB | PVB - 120W LED Cobrahead, 3000K (ERL216B3) Black
PW | PW - 149W LED Cobrahead, 3000K (ERL219B3)
PWB | PWB - 149W LED Cobrahead, 3000K (ERL219B3) Black
PX | PX - 194W LED Cobrahead, 3000K (ERL223B3)
PXB | PXB - 194W LED Cobrahead, 3000K (ERL223B3) Black
PY | PY - 237W LED Cobrahead (240V), 3000K (ERL227B3)
PYB | PYB - 237W LED Cobrahead (240V), 3000K (ERL227B3) Black
PZ | PZ - 237W LED Cobrahead (480V), 3000K (ERL227B3)
Q | Q - 400W MV Cobrahead (Sep Ballast II)
QA | QA - 80W LED Post Top Chinatown, 5000K (EPE360) | Chinatown Retrofitted
QB | QB - 2W LED Handrail Pod, 3000K (KLIKUSA50LP5030KA40TP) | Westbrook Pedestrian Bridge
QC | QC - 35W LED Linear Underpass, 4000K (Lumenwerx VIA Splash 4FT) | Southland Dr & 90 Ave SW Underpass
QD | QD - 55W LED Underpass, 4000K (EnduraEDR24NB-55) | 194 Ave Underpass
QE | QE - 9W LED Ped. Integrated Column, 4000K (OV1-16FT) | 8 St SW Underpass
QF | QF - 30W LED Linear Underpass, 4000K (GVASTR9-10x60) | 8 St SW Underpass
QG | QG - 20W LED Linear Underpass, 3500K (GVASTR9-80x80) | 8 St SW Underpass
QH | QH - 15W LED Linear Underpass, 2700K (GVASTR9-80x80) | 8 St SW Underpass
QI | QI - 10W LED Linear Handrail, 5500K (VarioFlexPhobos TV) | 8 St SW Underpass
QJ | QJ - 2W LED In Ground, 2700K (Design Plan Bright 1.0) | 8 St SW Underpass
QK | QK - 213W LED Shoebox, 4000K (GLEONAE04LEDE1T3) | 8 St SW Underpass
QL | QL - 138W LED Shoebox, 3000K (GLEONAE7000LEDE1T3) | 4 St SW Underpass
QM | QM - 209W LED High Mast (240V), 3000K (3PK130KMVOLTGMPSCP7)
QN | QN - 319W LED High Mast (240V), 3000K (3PK230KMVOLTGMPSCP7)
QO | QO - 168W LED Mongoose, 3000K (43KASMHVGNLPSCP7)
QP | QP - 25W LED Integrated Column, 4000K
QQ | QQ - 319W LED High Mast (480V), 3000K (3PK230KHVOLTGMPSCP7)
QR | QR - 18W LED Underpass, 3000K (DAC240-GB-VN-12LED-18W-3K)
QS | QS - 126W LED Shoebox, 3000K (GLEONAF03)
QT | QT - 150W LED Lumca Ovaali 16 Ave, 4000K (OL3572LED0740KL3120) | Midnight Blue Decorative - 16 Ave NW/NE
QU | QU - 55W LED Capella West District, 4000K (CPLS55W48LED4KLE3S) | Black
QV | QV - 35W LED Capella West District Ped., 4000K (CPLS35W32LED4KLE3S) | Black
QW | QW - 90W LED Capella West District, 4000K (CPLM90W80LED4KLE3S) | Black
QX | QX – 111W LED Roundpack, 3000K (KIM1ACCS25A3P3596L3K208NFO) White | White - East Village
QY | QY – 228W LED Roundpack, 3000K (KIM1ACCS25A3P7096L3K208NFO) White | White - East Village
QZ | QZ - 126W LED Mongoose, 3000K (MGLEDM) | Holophane
RA | RA - 29W LED Cobrahead, 3000K (RFS-30W16-3K-R2M) | Lumec
RAB | RAB - 29W LED Cobrahead, 3000K (RFS-30W16-3K-R2M-BLK) Black | Lumec
RB | RB - 29W LED Cobrahead, 3000K (RFS-30W16-3K-4) | Lumec
RBB | RBB - 29W LED Cobrahead, 3000K (RFS-30W16-3K-4-BLK) Black | Lumec
RC | RC - 37W LED Cobrahead, 3000K (RFS-35W32-3K-R2M) | Lumec
RCB | RCB - 37W LED Cobrahead, 3000K (RFS-35W32-3K-R2M-BLK) Black | Lumec
RD | RD - 54W LED Cobrahead, 3000K (RFS-55W40-3K-R2M) | Lumec
RDB | RDB - 54W LED Cobrahead, 3000K (RFS-55W40-3K-R2M-BLK) Black | Lumec
RE | RE - 79W LED Cobrahead, 3000K (RFS-80W40-3K-R2M) | Lumec
REB | REB - 79W LED Cobrahead, 3000K (RFS-80W40-3K-R2M-BLK) Black | Lumec
RF | RF - 101W LED Cobrahead, 3000K (RFS-100W40-3K-R2M) | Lumec
RG | RG - 122W LED Cobrahead, 3000K (RFM-120W60-3K-R2M) | Lumec
RH | RH - 149W LED Cobrahead, 3000K (RFM-150W60-3K-R2M) | Lumec
RI | RI - 174W LED Cobrahead, 3000K (RFL-180W80-3K-R2M) | Lumec
RJ | RJ - 207W LED Cobrahead (240V), 3000K (RFL-215W96-3K-R2M) | Lumec
RK | RK - 207W LED Cobrahead (480V), 3000K (RFL-215W96-3K-R2M-480V) | Lumec
RL | RL - 40W LED Shoebox, 4000K (GLEON-AF-01-E1-T2R-600) | Gleon
RM | RM - 199W LED High Mast, 3000K (HMLED4P130KMVOLTHGRMASPR7SH) | Holophane
RO | RO - 39W LED Wallpack Underpass, 4000K (WPS-L S1-W/40K/KV) | Stanpro
RP | RP - 52W LED Wallpack Underpass, 4000K (WPS-L S2-W/40K/KV) | Stanpro
RQ | RQ - 46W LED Wallpack Underpass, 4000K (EWNA-0-A4-F-40-1-N-GRAY-D) | GE Evolve N Series
RR | RR - 36W LED Horizontal Bar Underpass, 4000K (LOGHRO2404840KWWXXUMPSIDIM3GV) | LUMENPULSE LUMENFACADE HORIZONTAL 1.29m length
RS | RS - 27W LED Wallpack, 4000K (LDWP-GL-3B-ED-7040-WG/WPGL) | COOPER LUMARK
RT | RT - 45W LED Horizontal Bar Underpass, 4000K (TES548145L40KDCC1DV5HPP) | ENVIROSEAL TES5 SERIES 48 INCHES
RU | RU - 40W LED Mini Domus, 4000K (SY21P1-GAL-2) | CYCLONE DOMIA MINI LED
RV | RV - 59W LED Wallpack Underpass, 3000K (GWCAF01LEDE1SL4AP7030WM) | GLEON GALLEON
RW | RW - 48W LED Walkway Twin Support, 3000K (EPTC-3-E3-41-P-L) Black | GE EVOLVE LED POST TOP - CONTEMPORARY TWIN SUPPORT POST TOP (EPTC)
RX | RX - 40W LED Cobrahead, 3000K (195925-ATBS-P10-MVOLT-R23KNLP7) | Item 195925 - Luminaire Type A HOLOPHANE ATBS P10 MVOLT R2 3K NL P7 – Auto On
RY | RY - 50W LED Cobrahead, 3000K (195926-ATBS-P20-MVOLT-R23KNLP7) | Item 195926 - Luminaire Type B HOLOPHANE ATBS P20 MVOLT R2 3K NL P7 – Auto On
RZ | RZ - 113W LED Shoebox, 4000K (GLEON-AF-02-E1-8030-1A) | Gleon Galleon
SA | SA - 101W LED Wallpack, 3000K (Cree Edge Type 3 Med. Dist.) Black
SB | SB - 190W LED Lumca Ovaali 16 Ave, 4000K (OL3590LED0740KL3120) | Midnight Blue Decorative - 16 Ave NW/NE
R | R - 400W MV Floodlight
S | S - 1000W MH SquareHead/RoundHead (DwnTwn/ Olym Torch)
T | T - 1000W MV Cobrahead (BIH)
U | U - 250W MH PostTop
UNKNWN | Unknown
V | V - 200W HPS Cobrahead (BIH)
W | W - 250W HPS Cobrahead (BIH)
X | X - 400W MH Floodlight
Y | Y - 150W HPS Cobrahead (BIH)
Z | Z - 100W HPS PostTop (II -Walkway)
ZA | ZA - 100 Watt HPS Walkway (Shoebox)
ZB | ZB - 70 Watt HPS Walkway (Shoebox)
ZZ | ZZ - 100 Watt HPS Walkway
POLE TYPE | DESCRIPTION
1 | 9m x 2m Davit
2 | 10.7m T-Arm Embedded
3 | 10.7m Strain
4 | Transformer Base T-Arm
5 | Wood Pole
6 | 9m Anchor Base
7 | Transformer Base (Spigot)
8 | 9m x 2m x 2m Double Davit
9 | 9m x 2.5m Davit
10 | 9m x 2.5m x 2.5m Double Davit
11 | 9m Traffic Streetlight Comb Pole
12 | 135 Deg Double Davit (9m x 2m x 2m)
13 | Concrete Pole
14 | Ornamental Incandescent
15 | 7.5m z 2m Spigot
16 | Tear Drop
17 | 12m x 2.5m Davit
18 | 15m x 3m Davit
19 | 10m x 2.5m Davit
20 | 12m Strain Pole
21 | Mount Royal Pedestal Light
22 | 9m x 2.5m Davit Pole - Structurally Reinforced | Formerly - Combination Power Streetlight Pole |  |  | Name Updated
23 | 15m x 2.5m Davit Pole - Structurally Reinforced | Formerly - Intermediate Steel Pole |  |  | Name Updated
24 | 12m Traffic Streetlight Comb. Pole
25 | 8m Traffic Mast Arm
26 | 11m Traffic Mast Arm
27 | Mast Arm (School Zone)
28 | 12m Aluminum Pole | First installed in 1971
29 | 20m High Mast Pole (Straight Shaft)
30 | 30m High Mast Pole
31 | 20m x 2m High Mast Davit
32 | 5m Walkway Pole | Fibreglass Painted - Black 2006 - Present. Pre 2006: Steel
33 | 6m x 1m Davit
34 | 10m Rectangular Steel Pole
35 | 15m Steel Pole (Parks)
36 | 15m Traffic Streetlight Comb. Pole
37 | 6m Straight Pole
38 | 15m x 3m x 3m Double Davit
39 | 20m x 2m x 2m Double Davit
40 | 8m Blue LRT Pole (Prodel)
41 | LRT Streetlight Comb. Pole
42 | 9m Square Steel Pole
43 | 5m Ornamental (10 Street N.W.)
44 | 5m Chinatown Ornamental Pole | Painted - Red
45 | 12m Downtown Pole - Structurally Reinforced | Formerly - 4m Olympic Plaza Pole |  |  | Name Updated
46 | 5m Traditional Style Pole (17 Avenue S.W.) | Post 2017: Powder Coated - Black. Pre 2017: Painted - Black
47 | 5m Ornamental (4 Street S.W.)
48 | 4m Halophane Ornamental (Black)
49 | 8m Prodel (Black)
50 | 5m Prodel (Black)
51 | 7m Louise Bridge (Green)
52 | 7.8m Anchor Base (MacKenzie Town Type) | Post 2005: Powder Coated - Black. Pre 2005: Painted - Black
53 | 7.0m Step - Underbrace (Black) | Post 2005: Powder Coated - Black. Pre 2005: Painted - Black
54 | 6.5m Traditional Style (Electric Ave Style)
55 | Stephen Avenue Mall
56 | Olympic Way Pole
57 | Promonade Pole
58 | 8m (27ft) Straight w/arm
59 | 9m Fiberglass Straight – direct buried
60 | 7.8m Anchor Base (MacKenzie Towne Type) Double Arm
61 | 15m X 2.5m Davit
62 | 20m X 2.5m Davit
63 | 15m X 2.5m X 2.5m Double Davit
64 | 14m x 1m x 1m T-Pole
65 | 7m Step Pole with Finale Elbow Drive | Post 2005: Powder Coated - Black. Pre 2005: Painted - Black
66 | 7m Step Pole Double Davit with Finale Elbow Drive | Post 2005: Powder Coated - Black. Pre 2005: Painted - Black
67 | 11m 16 Ave N Double Davit | Galvanized & Powder Coated - Blue
68 | 11m 16 Ave N Single Davit | Galvanized & Powder Coated - Blue
69 | 11m 16 Ave N Double Davit at Median Bullnose (with traffic) | Galvanized & Powder Coated - Blue
70 | 11m 16 Ave N Single Traffic Extension | Galvanized & Powder Coated - Blue
71 | 11m 16 Ave N Single Traffic Push Button | Galvanized & Powder Coated - Blue
72 | 7.0m Step - Underbrace (Green) 14St/Memorial
73 | 6.2m Traffic Streetlight Combo Pole (17 Av) | CRTSD
74 | 6.2m Traffic Signal Bridge Streetlight Combo (17 Av) | CRTSD
75 | 6m Straight Pole | CRSD (aka 37B)
76 | 5m Inglewood Style Pole | CRDD (aka47b)
77 | 7.0m Step Underbrace | CRDD (aka 53b)
78 | 5m Traditional Style Pole - No Shroud | CRSD Formerly - Stephan av mall - quad (aka 55b)
79 | 9m Square Steel Pole - Structurally Reinforced | CRSD Formerly - Stephan Av Mall - Post (aka 55c) |  |  | Name Updated
80 | Rouville Straight Steel (aka Rouville) | CRSD
81 | 6.2m Pedestrian crosswalk Streetlight combo | CRTSD (aka 11b)
82 | 7.8m MacKenzie Towne Decorative Pole - Structurally Reinforced | Formerly - 6.2m Traffic Signal Brige Streetlight Combo Pole (4 av DT) |  |  | Name Updated
83 | 6.2m Traffic Signal Bridge Only | CRTRB
84 | 7.0m Step Pole - Straight Arm (Memorial Dr) | CRSD
85 | 7.0m Step Pole Double Davit - Straight Arm (Memorial Dr) | CRDD
86 | 12m Transit Streetlight Combo (7av corridor) - old | CRSD
87 | 12m Transit Cantilever Streetlight Combo (7av corridor) - new | CRDD
88 | Transit Pedestrian streetlight (7 av corridor) | CRSD
89 | Transit General Pole | CRTRB
90 | 6.0m Steel Round Pole - East Village (single post top) | CRSD
91 | 6.0m Steel Round Pole - East Village (double post top) | CRDD
92 | 8.0m Steel Round Suspension Pole (East Village) | OP
93 | 9m x 2.5m x 2.5m 90 Degree Double Davit | CRDD90
94 | 15m x 2.5m x 2.5m 90 Degree Double Davit | CRDD90
95 | 20m x 2.5m x 2.5m 90 Degree Double Davit | CRDD90
96 | 7.8m Mahogany Pole c/w Banner Arms | CRSD Post 2005: Powder Coated - Black. Pre 2005: Painted - Black
97 | 7.8m Mahogany Pole c/w Banner Arms - Double Davit | CRDD Post 2005: Powder Coated - Black. Pre 2005: Painted - Black
98 | 20m x 2.5 x 2.5 Double Davit
99 | 3.6m Greenway 4.5 OD Galvanized Pole - Single Davit | CRSD
100 | Attached to Underpass
101 | Attached to Bridge
102 | Utility poles owned by others
103 | 3.6m Greenway 4.5 OD Galvanized Pole - Double Davit | CRDD
104 | 7.0m Step Double Davit - Underbrace (Black) | CRDD Post 2005: Powder Coated - Black. Pre 2005: Painted - Black
105 | 9m x 2.5m Davit (Black) | CRSD Galvanized & Powder Coated - Black
106 | 9m x 2.5m x 2.5m Double Davit (Black) | CRDD Galvanized & Powder Coated - Black
107 | Telecom Pole 15m | CRSD
108 | Telecom Pole 20m | CRSD
109 | Telecom Pole 30m | CRSD
110 | 8m Fluted Pole (Centre St. Bridge) | CRSD - for the time being until changed to new cell
111 | 1m Fluted Pedestal Pole (Centre St. Bridge) | CRSD - for the time being until changed to new cell
112 | 9m x 2.5m davit traffic streetlight pole (no mast arm) | CRTSD
113 | 15m x 2.5m davit traffic streetlight pole (no mast arm) | CRTSD
114 | 12m Concrete Pole (Airport) | CRSD
115 | 8m Slanted Downtown Underpass Pole (White) | CRDD
116 | 8m Concrete Pole (McKnight) | CRSD
117 | Volunteer Way Pole with Ped. Davit (Centre St S) | CRDD
118 | 20m x 2.5m x 2.5m Double Davit Pole | CRDD
119 | 5m Cylindrical Straight Pole (4th St Underpass SE) | CRSD
120 | 1m Walkway Bollard - Luminaire Integrated | CRSD
121 | 6m Straight Round Pole (University) | CRSD
122 | 6m Straight Round Pole - Ped. LED Panel (University) | CRSD
123 | 8m Straight Round Pole (University) | CRSD
124 | 8m Straight Round Pole - Ped. LED Panel (University) | CRSD
125 | 7m Curved Greenway Pole with Ped. Davit (61 Ave SW) | CRDD
126 | 9m Straight Round Traffic Pole (University) | CRTSD |  | DM
127 | 15m x 2.5m Davit (Black) | CRSD - Galvanized & Powder Coated - Black |  | DM
128 | 15m x 2.5m Davit with Ped. Arm (Black) | CRDD - Galvanized & Powder Coated - Black |  | DM
129 | 4.8m Straight Round Ped. Column (8 St SW Underpass) | CRSD |  | DM
130 | 12m x 2.5m High Hand Hole Pole | CRSD - Galvanized |  | DM
131 | 4m Round Ped. Column - Luminaire Integrated (61 Ave Ped. Bridge) | CRSD
132 | 12 x 2.5m Single Davit Double Handhole Pole | CRSD - Galvanized
133 | 8.3m West District Pole with Ped. Davit | CRDD - Galvanized & Powder Coated - Black
134 | 9m Round Non-Tapered Arm Mount (East Village) | CRSD - Powder Coated White
135 | 9m Traffic Mast Arm, Round Non-Tapered (East Village) | CRTSD - Powder Coated White
136 | 7.8m Combination Pole with Ped. Davit (Mainstreet) | CRDD - Powder Coated Black or Grey
137 | 7.8m Non-Energized Banner Support Pole (Mainstreet) | OP
138 | 7.8m Combination Pole with Ped. Davit (Mainstreet) - Structurally Reinforced | CRDD - Powder Coated Black or Grey
139 | 7m Traditional Style Pole (With Shroud) | OP
140 | 7m Traditional Style Pole (With Shroud) - Structurally Reinforced | OP
141 | 9m x 2.5m Standard with Ped. Arm (Mainstreet) | CRSD - Powder Coated Grey
142 | 9m x 2.5m Standard with Ped. Arm (17 Ave SE MAX) | CRSD - Galvanized
BASE TYPE | DESCRIPTION
PCB-B1 | Type B1 - Pre Cast, 1.2-1.9m Deep, 1-4" Raceway
PCB-B2 | Type B2 - Pre Cast, 2.2m Deep, 6" Raceway
PCB-C1 | Type C1 - Pre Cast, 2.4m Deep, 1-4" Raceway
PCB-C2 | Type C2 - Pre Cast, 2.6m Deep, 6" Raceway
PIP-D1 | Type D - Poured in Place, Custom High Mast
POURED | Poured in Place, Old Standard
BRIDGE | Bridge Incorporated
SPECIL | Barrier Incorporated
SCREW | Screw
EMBED | Embedded
UNKNWN | Unknown
N/A | Not Applicable